## Slide 1
Course 1: Digital Farming and Precision Agriculture
www.smartskillsproject.eu
M2: IoT devices, sensors, actuators, converters

## Slide 2
Understand…
Identify…
Explain…
…the role and importance of control systems in modern agriculture.
…key components of control systems, including sensors, controllers, and actuators.
…the basic functions of SCADA and PLC systems in farm automation.
In this module, you will learn the fundamental components of automated control systems in agriculture, including sensors, controllers, and actuators, and be able to explain how these components interact to optimise various farming operations.
Learners will also gain an understanding of the principles and applications of SCADA, and PLC systems in agricultural contexts.
Learning Outcomes

## Slide 3
01
Introduction
02
IoT devices
This module will support learners in being able to evaluate the role of automation in improving efficiency, precision, and productivity in tasks such as irrigation and crop monitoring.
At the end of the module, learners will be able to assess the broader impact of automation on modern agricultural practices and its potential to transform the industry.
contents
03
04
Lets Practice
Personal data when scanning

## Slide 4
INTRODUCTION
01

## Slide 5
From Analog to Digital: Understanding Digitisation
Digitisation is the process of converting analog signals—like the smooth red sine wave shown—into digital form, represented by discrete numerical values. This involves sampling the analog signal at regular intervals and assigning each sample a number that reflects its amplitude. The result is a series of values, such as 12, 39, 63, etc., which together form a digital approximation of the original wave. This transformation allows data to be stored, processed, and transmitted more efficiently and reliably in digital systems.
A similar digitisation process involves converting an analog image—like a photo of a dog—into digital data using a camera, which translates the visual information into numerical colour values.

## Slide 6
Interaction of electronics and the surrounding world
reality  virtual
microphone
3D scanner
camera
thermometer
virtual  reality
speaker
printer 2D/3D
electric motor
relay switch
The process of digitisation and its reverse—actuation—connects the physical world with the digital one. On the left, devices like microphones, 3D scanners, cameras, and thermometers capture real-world data and convert it into digital signals ("reality → virtual"). On the right, digital data is transformed back into physical actions or outputs through devices such as speakers, 2D/3D printers, electric motors, and relay switches ("virtual → reality"). This two-way interaction enables technologies like smart homes, robotics, and virtual reality to function seamlessly.

## Slide 7
Shannon-Kotelnikov Theorem (Sampling Theorem)
This theorem states that a continuous (analog) signal can be perfectly reconstructed from its samples if it is sampled at a rate at least twice the highest frequency present in the signal. This minimum sampling rate is called the Nyquist rate. The image illustrates this by showing a smooth analog wave sampled at regular intervals. The red dashed line shows how the original signal can be accurately reconstructed from these samples, demonstrating that no information is lost if the sampling is done correctly.

## Slide 8
IoT DEVICES
02

## Slide 9
IoT Device Classification by Design and Application
According to the technical design
  The resistance of the device: IP, IK,
  Power supply method (230V, 5/12/24V, battery)
  Method of data transfer(datalogger, wired, wireless broadband, wireless LPWAN)
According to the area of use
  Professional (in industry, transport, etc.)
  For home use
  For research, development, testing
Devices can be categorised based on their technical design, and by area of use

## Slide 10
The Physical Principles of Sensing
Impact
SensorVibration
SensorPhotoresisto
ButtonTemperature
SensorHall
SensorMagnetic
SensorOptical
Barrier module
Heart rate detector
Power relay 5V
Gas detector
And more….
The International System of Units (SI) provides the foundation for measuring physical quantities such as length, mass, time, and temperature. Various sensors and modules—like temperature sensors, gas detectors, and heart rate monitors—convert real-world phenomena into measurable data based on these units.

## Slide 11
Final Mechanical Design
This image presents various sensors used in agriculture and environmental monitoring, such as weather stations, soil moisture sensors, and temperature-humidity sensors. These devices help collect real-time data to support efficient farming and sustainable environmental management.

## Slide 12
Case Study: Weather Station Integration with Farm Management System
Farmers often rely on regional forecasts, which may not reflect microclimates on their land. IoT weather stations installed directly on the farm can monitor rainfall, temperature, wind speed, humidity, and pressure. This data integrates into farm management platforms, improving decisions about planting, pesticide application, and harvest timing. However, weather sensors must be rugged and accurate, and data must be cross-validated to prevent errors in critical decisions.
Problem: Weather variability affects farm operations
Solution: On-site IoT weather stations linked to digital dashboards
Data used for sowing, spraying, and harvesting decisions
Benefits: Increased timing precision and risk reduction
Challenges: Data validation, sensor durability in harsh weather

## Slide 13
IoT Sensor example
IoT Weather Station
Accurate, Reliable and Continuous Weather Monitoring
WTS506
All-in-One Weather Station
Robust and Rugged
Various Application Scenarios
Easy Configuration via NFC
Solar-Powered & Chargeable Batteries Backup
Data Storage and Retransmission
LoRaWAN® Based

## Slide 14
Case Study: Light Sensor for Crop Monitoring
Light intensity plays a critical role in plant growth and photosynthesis. In agriculture, light sensors such as PAR (Photosynthetically Active Radiation) or LUX sensors are used to measure the amount of light plants receive. These sensors help optimize growing conditions in greenhouses and monitor shading or exposure in open fields. Farmers can use the data to control shading systems or activate supplemental lighting. Accurate placement and calibration are essential for meaningful results, especially in heterogeneous environments.
Problem: Lack of real-time data on light conditions affects crop quality
Solution: Light sensors (e.g., PAR or LUX) monitor light intensity
Used in greenhouses and open fields for plant growth optimisation
Benefits: Informed shading, supplemental lighting, crop quality control
Challenges: Sensor placement, data interpretation, calibration

## Slide 15
IoT Sensor example
LoRaWAN® Light Sensor
Shining a Light on Intensity Measurement
EM500-LGT
Measuring Ranges from 0 lux to 100,000 lux
Fast 1-Sec Response for Accurate Monitoring
IP67 Rated for Harsh Environment
LoRaWAN® Wireless Deployment with Low Power Consumption
Dta Integrity and Easy Management
Long-Lasting Battery Life of up to 10 Years
Easy Configuration via NFC

## Slide 16
Case Study: Smart Soil Monitoring
Traditional soil sampling can be labour-intensive and offer only snapshots in time. With smart in-field sensors, farmers can continuously monitor soil parameters like moisture, temperature, and electrical conductivity (EC). These sensors send data to a cloud platform via LPWAN (e.g., LoRaWAN), enabling timely decisions on irrigation and fertilisation. However, maintaining sensor accuracy over time and ensuring reliable power sources (e.g., solar or battery) remains a challenge.
Problem: Manual soil testing is time-consuming and inconsistent
IoT solution: In-situ soil sensors (moisture, temperature, EC)
Real-time data collection and cloud storage
Benefits: Optimised irrigation and fertilization
Challenges: Sensor calibration, maintenance, power supply

## Slide 17
IoT Sensor example
Soil Moisture, Temperature
And Electrical Conductivity Sensor
Accurate, Reliable and Real-Time Soil Condition Monitoring
EM500_SMT
Seamless Integration with Smart Irrigation Systems
IP67 Rated Transceiver for Harsh Environment
IP68 Rated Corrosion Resistance Probe
Data integrity and Easy Management
Long-Lasting Battery Life of up to 10 Years
Easy configuration via NFC

## Slide 18
Interface in Sensors and Control
Digital inputs/outputs
Analog inputs/outputs
Serial communication with sensors (bus)
Communication interface of the units
  Ethernet, wireless, etc.
Figure about PLC (programmable logic controllers) is discribed at https://www.unipi.technology/

## Slide 19
IoT control (PLC) device
IoT control devices, such as Programmable Logic Controllers (PLCs on figure), play a key role in modern automation systems by connecting sensors, actuators, and cloud services. These devices collect data from the physical environment, process it in real time, and trigger actions based on predefined logic. Integrated with the Internet of Things (IoT), PLCs enable remote monitoring, predictive maintenance, and seamless integration with smart infrastructure—making them essential in industries like manufacturing, agriculture, energy, and smart buildings.

## Slide 20
"Industrial" IoT Wireless sensor devices
Most of them are devices with higher resistance.
The size of the device is ideally as small as possible.
A simple battery change is not always the rule.
Device configuration is specified by the device manufacturer.
Periphery (specific sensor) is usually connected externally.
Mostly well secured

## Slide 21
IoT for accurate measurements
The Internet of Things (IoT) enables precise and continuous monitoring of physical conditions through a network of interconnected sensors and devices. By collecting real-time data on parameters such as temperature, humidity, pressure, and motion, IoT systems ensure high accuracy and reliability in fields like environmental monitoring, smart agriculture, industrial automation, and healthcare. These measurements support data-driven decision-making, predictive maintenance, and improved operational efficiency.
Quantities are measured with high resolution and accuracy.
Sensors must be calibrated regularly.
Disturbing quantities are shielded

## Slide 22
IoT device for positioning
IoT positioning devices use technologies such as GPS, GNSS, Wi-Fi, Bluetooth, or ultra-wideband (UWB) to determine the precise location of objects, people, or assets in real time. These devices are essential in applications like fleet tracking, smart logistics, agriculture, and indoor navigation, where accurate and continuous location data supports automation, safety, and operational efficiency.
So called „IoT tracker“ (on figure)
  Specialisation in determining the position of the tracked object.
Fig. A: Position of the tracked object. Fig. B: IoT tracker.

## Slide 23
IoT Cameras
The ability to recognise objects
Universal use
  Self-driving cars
  License plate number (A)
  Manufacturing processes (B)
    quality control
    goods counting
  Temperature measurement (C)
    the issue of lighting conditions
B A
C

## Slide 24
More information about IoT
 Smart Farming with IoT: Enhancing Soil Health with IoT Technology
| AI Tech Hub
Using of IoT devices, sensor in Precision Agriculture

## Slide 25
PERSONAL DATA WHEN SCANNING
03

## Slide 26
Personal Data When Scanning
Issues of personal data according to the GDPR regulations
According to the GDPR, personal data means all information about an identified or identifiable natural person (so-called data subject), such as name and surname, identification number, location data (location data), one or more special elements of physical, physiological, genetic, psychological, economic, cultural or social identity of a certain natural person, or even a network identifier.

## Slide 27
Case Study: GDPR & Data Ownership in Digital Farming
Many farmers are concerned about where their data goes—especially data from sensors on fields and machinery. Some cases show vendors storing data in the cloud and using it for commercial purposes, creating distrust. GDPR requires informed consent and transparency. A good practice is to define data ownership in contracts and enable farmers to access or delete their data.
Problem: IoT platforms collect sensitive farm and location data
Concern: Who owns the data? How is it used?
Example: Disputes between farmers and vendors over cloud access
Impacts: Trust issues, reluctance to adopt new tech
Need: Clear agreements on data use, GDPR compliance

## Slide 28
LET’S PRACTICE
04

## Slide 29
Learner Exercise:
Practical Activity: "Choose and Analyze a Sensor"
Pick one type of IoT sensor or data collection device used in agriculture (e.g., temperature sensor, soil moisture sensor, GPS tracker, optical barrier sensor).
Task: Write a short paragraph explaining how it works, in which part of farming it is most useful, and what technical or ethical issues might arise during its deployment. Length: 100–150 words.
Optional: Attach an image or datasheet of the device..
Tip: Consider issues like accuracy, resistance, data transmission, or GDPR concerns.

## Slide 30
Group Exercise or Self Reflection:
Discussion Prompt:
What criteria should farmers consider when selecting IoT devices for data
collection? How can we balance technological benefits with privacy and
security?
Purpose:
To promote critical evaluation of real-world technologies and awareness of
both technical and ethical dimensions in precision farming.

## Slide 31
Follow our journey
www.smartskillsproject.eu
You have finished the second module of Course 1! Keep going on this learning journey.
In the next module you will learn about IoT – Database and IoT.
Well done!